Procedural Review Voting Sheet

2011 Cycle 6
REGION: North America
COMMITTEE: Liquid Chemicals
EVENT: NA Standards Fall 2011 Meetings
DATE OF MEETING: October 25, 2011
PLACE OF MEETING: SEMI Headquarters in San Jose, California
COMMITTEE CO-CHAIRS: Frank Flowers/FMC, Frank Parker/ICL
SEMI STAFF: Paul Trio
A&R Voter: Name/Company

Date: 200X/MM/DD 

I. Document Number & Title

	Document 4555A
	Revision to SEMI F57-0301 

with title change to: Specification for Polymer Materials and Components Used in Ultrapure Water and Liquid Chemical Distribution Systems


II. Tally (Staff to fill in)

Voting Tally: As-cast tally after close of voting period

A minimum of 60% of the voting interests that have voting members within the technical committee must return votes. (Regulations ¶ 9.6.1)

[image: image1.wmf]Return

Distribution

Return Rate

Yellow

34

÷

56

=

60.7%

>=60%

Lilac & Others

2

----------------------------------------------------------------------------------

Total Vote

36

Reject

1

Accept

19


	A&R
	
	Not approved

	
	Reason:


III. Rejects

Reject 1 (Eric Sklar – Safety Guru, LLC.)

Negative 1 of Reject 1

	Negative
	Referenced Section
	*TF/Committee to fill in if necessary

	
	
	6.4

	
	Reason
	*Original negative comment and justification should be included.

	
	
	Negative:
This needs clarification.

Reason/Justification:  
The phrase “can be considered as an alternative solution” could be an observation, or permission to use an alternative method of one’s choosing.  


	Withdrawal
	x
	No withdrawal made
	GO TO “Related” section

	
	
	Withdrawal document received by staff on XXXX
	GO TO “Final” ( (A)

	Related
	Motion and Reason
	x
	“Related” is mutually agreed upon.

	
	
	
	*This motion can be appended to the motion for Persuasive (See Persuasive Section)

	
	
	
	Negative is related (needs over 1/3 votes to pass)

	
	
	
	Negative is not related (needs 2/3 or more votes to pass)

	
	
	
	Reason
	XXXX

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Discussion
	

	
	Result of Vote (check ONE)
	XX-XX

	
	
	
	[Negative is related] > 1/3
	GO TO “Persuasive”

	
	
	
	[Negative is not related] < 2/3
	

	
	
	
	2/3=< [Negative is not related] 
	GO TO “Final” ( (B)

	
	
	
	
	

	Persuasive
	Motion and Reason
	
	Negative is related and persuasive (needs over 1/3 votes to pass)

	
	
	x
	Negative is related and not persuasive (needs 2/3 or more votes to pass)

	
	
	
	Reason
	The task force believes that the sentence immediately following the sentence referenced by the voter clearly states what needs to happen:
This “similar part” should be of a similar geometry, while still meeting the detection limit requirements of less than 100% of the specification value.


	
	Motion by/2nd by
	Marty Burkhart (Hi Pure Tech) / Frank Parker (ICL)

	
	Discussion
	None

	
	Result of Vote (check ONE)
	4-0

	
	
	
	[Negative is related and persuasive] > 1/3
	GO TO “Final” ( (E)

	
	
	
	[Negative is related and not persuasive] < 2/3
	

	
	
	
	2/3=<[Negative is related and not persuasive] <90%
	GO TO “Final” ( (C)

	
	
	x
	90% =< [Negative is related and not persuasive]
	GO TO “Not Significant Finding Option”

	Not Significant Finding Option
	This option can only be used “if the committee finds a negative not persuasive by a vote equal to or greater than 90% of the persons voting on the action”. (Regulations ¶  9.5.3.3.2)

	
	
	x
	It is mutually agreed upon to term the negative “not significant”
	GO TO ( (D)

	
	
	
	It is mutually agreed upon to term the negative “significant”
	GO TO ( (C)


	
	Motion
	
	The negative is “not significant”.

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Vote
	
	XX-XX Motion passed with simple majority
	GO TO ( (D)

	
	
	
	XX-XX Motion failed with simple majority
	GO TO ( (C)

	Final
	Negative is:

	
	
	(A)
	withdrawn (counted under h in disposition)

	
	
	(B)
	not related (counted under i in disposition)

	
	
	(C)
	related and not persuasive (significant)

	
	x
	(D)
	not significant (counted under j in disposition)

	
	
	(E)
	related and persuasive
	DOCUMENT FAILS

	
	
	Comment generated. See comment #x

	A&R
	
	Not approved

	
	Reason:


Negative 2 of Reject 1
	Negative
	Referenced Section
	*TF/Committee to fill in if necessary

	
	
	Note 7 (immediately before Table 2)

	
	Reason
	*Original negative comment and justification should be included.

	
	
	Negative:  
Change this to a numbered paragraph.

Reason/Justification:  
As a Note, it is not normative, so the means of averaging, sample size, and background correction are not normative.


	Withdrawal
	x
	No withdrawal made
	GO TO “Related” section

	
	
	Withdrawal document received by staff on XXXX
	GO TO “Final” ( (A)

	Related
	Motion and Reason
	x
	“Related” is mutually agreed upon.

	
	
	
	*This motion can be appended to the motion for Persuasive (See Persuasive Section)

	
	
	
	Negative is related (needs over 1/3 votes to pass)

	
	
	
	Negative is not related (needs 2/3 or more votes to pass)

	
	
	
	Reason
	XXXX

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Discussion
	

	
	Result of Vote (check ONE)
	XX-XX

	
	
	
	[Negative is related] > 1/3
	GO TO “Persuasive”

	
	
	
	[Negative is not related] < 2/3
	

	
	
	
	2/3=< [Negative is not related] 
	GO TO “Final” ( (B)

	
	
	
	
	

	Persuasive
	Motion and Reason
	
	Negative is related and persuasive (needs over 1/3 votes to pass)

	
	
	x
	Negative is related and not persuasive (needs 2/3 or more votes to pass)

	
	
	
	Reason
	The note is not intended to be normative.

	
	Motion by/2nd by
	Marty Burkhart (Hi Pure Tech) / Frank Flowers (FMC)

	
	Discussion
	None

	
	Result of Vote (check ONE)
	5-0

	
	
	
	[Negative is related and persuasive] > 1/3
	GO TO “Final” ( (E)

	
	
	
	[Negative is related and not persuasive] < 2/3
	

	
	
	
	2/3=<[Negative is related and not persuasive] <90%
	GO TO “Final” ( (C)

	
	
	x
	90% =< [Negative is related and not persuasive]
	GO TO “Not Significant Finding Option”

	Not Significant Finding Option
	This option can only be used “if the committee finds a negative not persuasive by a vote equal to or greater than 90% of the persons voting on the action”. (Regulations ¶  9.5.3.3.2)

	
	
	x
	It is mutually agreed upon to term the negative “not significant”
	GO TO ( (D)

	
	
	
	It is mutually agreed upon to term the negative “significant”
	GO TO ( (C)


	
	Motion
	
	The negative is “not significant”.

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Vote
	
	XX-XX Motion passed with simple majority
	GO TO ( (D)

	
	
	
	XX-XX Motion failed with simple majority
	GO TO ( (C)

	Final
	Negative is:

	
	
	(A)
	withdrawn (counted under h in disposition)

	
	
	(B)
	not related (counted under i in disposition)

	
	
	(C)
	related and not persuasive (significant)

	
	x
	(D)
	not significant (counted under j in disposition)

	
	
	(E)
	related and persuasive
	DOCUMENT FAILS

	
	
	Comment generated. See comment #x

	A&R
	
	Not approved

	
	Reason:


Negative 3 of Reject 1
	Negative
	Referenced Section
	*TF/Committee to fill in if necessary

	
	
	6.9.4

	
	Reason
	*Original negative comment and justification should be included.

	
	
	Negative:
The test method is not adequately specified to provide consistent results.
Reason/Justification:
Although the type of instrument (ICP-MS) is specified, no specific instructions are given as to method, calibration, or validation.   


	Withdrawal
	x
	No withdrawal made
	GO TO “Related” section

	
	
	Withdrawal document received by staff on XXXX
	GO TO “Final” ( (A)

	Related
	Motion and Reason
	x
	“Related” is mutually agreed upon.

	
	
	
	*This motion can be appended to the motion for Persuasive (See Persuasive Section)

	
	
	
	Negative is related (needs over 1/3 votes to pass)

	
	
	
	Negative is not related (needs 2/3 or more votes to pass)

	
	
	
	Reason
	XXXX

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Discussion
	

	
	Result of Vote (check ONE)
	XX-XX

	
	
	
	[Negative is related] > 1/3
	GO TO “Persuasive”

	
	
	
	[Negative is not related] < 2/3
	

	
	
	
	2/3=< [Negative is not related] 
	GO TO “Final” ( (B)

	
	
	
	
	

	Persuasive
	Motion and Reason
	
	Negative is related and persuasive (needs over 1/3 votes to pass)

	
	
	x
	Negative is related and not persuasive (needs 2/3 or more votes to pass)

	
	
	
	Reason
	The section referenced by the voter refers to SEMI F40 which contains a reference to a SEMATECH document that describes the method that the voter was looking for.

	
	Motion by/2nd by
	Marty Burkhart (Hi Pure Tech) / Jean-Marie Collard (Solvay)

	
	Discussion
	Frank Parker (ICL) pointed out that Liquid Chemicals documents refer to SEMI C1 so that revisions to the documents are easily managed. He asked whether this is the case for this document. Marty Burkhart explained that the task force’s plan is to revise F57 in the future such that it also refers to C1 rather than F40.

	
	Result of Vote (check ONE)
	5-0

	
	
	
	[Negative is related and persuasive] > 1/3
	GO TO “Final” ( (E)

	
	
	
	[Negative is related and not persuasive] < 2/3
	

	
	
	
	2/3=<[Negative is related and not persuasive] <90%
	GO TO “Final” ( (C)

	
	
	x
	90% =< [Negative is related and not persuasive]
	GO TO “Not Significant Finding Option”

	Not Significant Finding Option
	This option can only be used “if the committee finds a negative not persuasive by a vote equal to or greater than 90% of the persons voting on the action”. (Regulations ¶  9.5.3.3.2)

	
	
	x
	It is mutually agreed upon to term the negative “not significant”
	GO TO ( (D)

	
	
	
	It is mutually agreed upon to term the negative “significant”
	GO TO ( (C)


	
	Motion
	
	The negative is “not significant”.

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Vote
	
	XX-XX Motion passed with simple majority
	GO TO ( (D)

	
	
	
	XX-XX Motion failed with simple majority
	GO TO ( (C)

	Final
	Negative is:

	
	
	(A)
	withdrawn (counted under h in disposition)

	
	
	(B)
	not related (counted under i in disposition)

	
	
	(C)
	related and not persuasive (significant)

	
	x
	(D)
	not significant (counted under j in disposition)

	
	
	(E)
	related and persuasive
	DOCUMENT FAILS

	
	
	Comment generated. See comment #x

	A&R
	
	Not approved

	
	Reason:


Disposition of Reject 1

	3
	Original number of Negatives 
	(g)

	0
	# of Negatives withdrawn 
	(h)

	0
	# of Negatives found not related 
	(i)

	3
	# of Negatives found not significant 
	(j)

	Final
	x
	g-(h+i+j)=0
	 Reject is Not Valid and is not included in the denominator of § VI. Approval Conditions Check

	
	
	g-(h+i+j)>0
	 Reject is included in the denominator of § VI. Approval Conditions Check

	
	
	Reject without a Negative
	 Not Valid


Note: If all of the negative material included with a reject vote is withdrawn, determined to be not related, or determined to be not significant, the reject vote is not valid. (Regulations ¶ 9.4.3.3) 

	A&R
	
	Not approved

	
	Reason:


IV. Comments

Comment 1

	Comment
	Referenced Section
	*TF/Committee to fill in if necessary

	
	From
	David Kandiyeli (Ichor Systems)

	
	Comment
	Semi F57-0301: Not sure that document can effectively apply a TOC standard to many organic solvents.

	
	Discussion
	Marty Burkhart (Hi Pure Tech) reported that he had communicated with the voter (via email) to discuss his comment.

	Action proposed
	x
	The committee agreed to do one of the following actions. 

	
	
	*No motion is required in this step.

	
	
	x
	No further action was taken by the committee.

	
	
	
	Refer to the task force for more consideration. 

	
	
	
	New Business

	
	
	
	Other

	
	Editorial Change
	

	
	
	
	Case 1: No vote in this section :

	
	
	
	To be included and voted on in § 5. Summary of Editorial Changes.

	
	
	
	Case 2: Voted in this section : 

	
	
	
	Original section number and at least one full sentence are required in “FROM” and “TO” fields.

	
	
	1
	FROM: Section xxx



	
	
	
	To: Section xxx



	
	
	
	Justification (If necessary)



	
	
	2
	FROM: Section xxx



	
	
	
	To: Section xxx



	
	
	
	Justification (If necessary)



	Motion by/2nd
	Name (Company)/Name (Company)

	Vote
	XX-XX Motion passed (or failed)

	A&R
	
	Not approved

	
	Reason:


V. Summary of Editorial Changes

There were no editorial changes for ballot 4555A.
VI. Approval Conditions Check

APPROVAL CONDITION 1: All negatives have been discussed and were withdrawn, found not related, or not persuasive. (Regulations ¶ 9.6.2)

APPROVAL CONDITION 2: At least 90% of the sum of the valid accept and reject votes must be accept. (Regulations ¶ 9.6.3)

[image: image2.wmf]Accepts

(Accepts + 

Valid Rejects)

Approval Rate

=

19

/

19

=

100.0%

>=90%

Note: if both approval conditions are not satisfied, the document fails.

	A&R
	
	Not approved

	
	Reason:


VII. Safety Check

See § 14 of the Regulations for further information

	Motion:
	x
	This is not a Safety Document: when all safety-related information is removed, the document is still technically sound and complete. 

	
	
	This is a Safety Document: when all safety-related information is removed, the document is not technically sound and complete.

	
	
	
	Safety Checklist (Regulations ¶ 14.3) is complete and has been included with the document throughout the balloting process.  

	Motion by/2nd by
	Marty Burkhart (Hi Pure Tech) / Fred Stover (ICL)

	Discussion
	None

	Vote
	5-0 Motion passed

	A&R
	
	Not approved

	
	Reason:


VIII. Intellectual Property Check 

Note: This ballot may be all or part of a Standard or Safety Guideline.  This IP check applies to the entire Standard or Safety Guideline.  See § 15 of the Regulations for further information
	x
	The meeting chair asked those present in person or by electronic link, if they were aware of any potentially material patented technology or copyrighted items* in the Standard or Guideline.

	
	x
	No potentially material patented technology or copyrighted items are known
	GO TO SECTION IX

	
	
	Potentially material patented technology or copyrighted items are known but a Letter of Assurance (LOA) or copyright release for such material has been obtained or presented to the committee.
	GO TO SECTION IX

	
	
	Potentially material patented technology or copyrighted items are known but an LOA or copyright release for some of the material(s) has NOT been obtained or presented to the committee

	
	MOTION
	
	Ask ISC for special permission to publish

	
	
	
	Quit activity

	
	
	
	Wait for LOA for patented technology or release of copyrighted items.

	
	Motion by/2nd by
	Name (Company)/Name (Company)

	
	Discussion
	XXXX

	
	Vote
	XX-XX

	
	Final Action
	
	Motion Passed

	
	
	
	Motion Failed

	A&R
	
	Not approved

	
	Reason:


* Note: Such potentially material patented technology or copyrighted items might have become known since the Standard or Safety Guideline was last reviewed, or might become relevant due to this ballot.
IX. Action for this document

	Motion 
	x
	This document passed committee review as balloted and will be forwarded to the A&R for procedural review.

	
	
	This document passed committee review with editorial changes and will be forwarded to the A&R for procedural review.

	
	
	This document failed committee review and will be returned to the task force for rework.

	
	
	This document failed committee review and work will be discontinued.

	Motion by/2nd by
	Marty Burkhart (Hi Pure Tech) / Frank Flowers (FMC)

	Discussion
	None

	Vote
	5-0 

	Final Action
	x
	Motion passed

	
	
	Motion failed 

	A&R
	
	Approved

	
	
	Not approved

	
	Reason:


� EMBED Microsoft Office Excel Worksheet ���





� EMBED Microsoft Office Excel Worksheet ���








A&R Ballot Report Template Revision 7.7

[image: image3.wmf]Return

Distribution

Return Rate

Yellow

34

÷

56

=

60.7%

>=60%

Lilac & Others

2

----------------------------------------------------------------------------------

Total Vote

36

Reject

1

Accept

19

[image: image4.wmf]Accepts

(Accepts + 

Valid Rejects)

Approval Rate

=

19

/

19

=

100.0%

>=90%

_1381828239.xls
Sheet4

		





Sheet1

						Return				Distribution				Return Rate

				Yellow		34		÷		56		=		60.7%		>=60%						>=90%

				Lilac & Others		2

				----------------------------------------------------------------------------------

				Total Vote		36

				Reject		1

				Accept		19





Sheet2

		





Sheet3

		






_1381829623.xls
Sheet4

		





Sheet1

		

								Accepts				(Accepts + Valid Rejects)

				Approval Rate		=		19		/		19		=		100.0%				>=90%





Sheet2

		





Sheet3

		






